## Instructions. Creative Commons
Instructions
Tips and how to use these sheets are regularly updated online in the user manual at
4.8 Configure Bika and Senaite with imported setup data
All feedback appreciated
Creative Commons
These sheets are distributed and licensed by Bika Lab Systems on the Creative Commons BYSA, please use and redistribute.
Best Regards, Team Bika
info@bikalabs.com

## Lab Information
Field | Description | Value
| Lab Information |  | Creative Commons BYSA Bika Lab Systems
Description
Name | Name | My Lab
LabURL | Lab web address | www.mylab.com
Confidence | Confidence level % | 95
LaboratoryAccredited | Laboratory accredited ? | 1
AccreditationBodyLong | Accreditation body title | ACME Accreditation
AccreditationBody | Accreditation body abbreviation | AccBdy Inc
AccreditationBodyURL | Accreditation body web address | www.accbdy.com
Accreditation | Accreditation standard, e.g ISO 17025 | ISO 17025
AccreditationReference | Lab's accreditation reference number | ACC 2020
AccreditationBodyLogo | Accreditation body logo
TaxNumber | Tax number | 2005 378 576
Phone | Phone number | +27 21 686 8990
EmailAddress | Email address | lab@yourlab.com
Physical_Address | Physical address | Main road 1
Physical_City | Physical address city | Cape Town
Physical_State | Physical address state | Western Cape
Physical_Zip | Physical address zip | 8000
Physical_Country | Physical address country | South Africa
Postal_Address | Postal address | Box 1
Postal_City | Postal address city | Cape Town
Postal_State | Postal address state | Western Cape
Postal_Zip | Postal address zip | 8000
Postal_Country | Postal address country | South Africa
Billing_Address | Billing address | Box 1
Billing_City | Billing address city | Cape Town
Billing_State | Billing address state | Western Cape
Billing_Zip | Billing address zip | 8000
Billing_Country | Billing address country | South Africa

## Lab Contacts
Salutation | Firstname | Surname | EmailAddress | BusinessPhone | MobilePhone | JobTitle | Department_title | Username | Password | Groups | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Lab contacts - LIMS users | [10 empty] | Physical address |  |  |  |  | Postal address |  |  |  |  | Creative Commons BYSA Bika Lab Systems
Salutation | ⭐ First name | ⭐ Surname | Email address | Business phone | Mobile phone | Job title | Department | ⭐ User name | ⭐ Password | ⭐ Groups | Building/Street | City | State | Zip | Country | Building/Street | City | State | Zip | Country
Ms | Adwoa | Analyst | adwoa@example.com |  |  |  | Chemistry | adwoa | adwoa22 | Analysts
Mr | Andre | Analyst | andre@example.com |  |  |  | Chemistry | andre | andre22 | Analysts
Ms | Anne | Analyst | anne@example.com |  |  |  | Microbiology | anne | anne22 | Analysts
Mr | Client | Sampler | clientsam@example.com |  |  |  | Sampling | client | client22 | Samplers
Mr | Len | Labclerk | len@example.com |  |  |  | Reception | len | len22 | LabClerks
Ms | Lindiwe | Labclerk | lindiwe@example.com |  |  |  | Reception | lindiwe | lindiwe22 | LabClerks
Mr | Mpasa | Manager | mpasa@example.com |  |  |  | Chemistry | mpasa | mpasa22 | LabManagers
Ms | Ronda | Rommelaer | ronda@exampl.com |  |  |  | Chemistry | ronda | ronda0727 | LabManagers
Mr | Sam | Sampler | sam@example.com |  |  |  | Sampling | sam | sam22 | Samplers
Mr | Sekuwe | Sampler | sekuwe@example.com |  |  |  | Sampling | sekuwe | sekuwe22 | Samplers

## Lab Departments
title | description | LabContact_Username
Lab Departments |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | ⭐ Manager
Chemistry |  | ronda
Microbiology |  | ronda
Sampling |  | ronda
Technical Support |  | ronda
Reception |  | ronda

## Lab Products
title | description | volume | unit | price | vat
Lab Products | Products lent or sold to clients, such as bottles, sampling kits etc. Non analytical services, Consulting, Sampling, Sample prepping, etc. |  |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | Volume | Unit | ⭐ Price | VAT %

## Clients
Name | ClientID | MemberDiscountApplies | BulkDiscount | TaxNumber | Phone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country
Clients |  | Discount |  |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address |  |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Name | ⭐ Client ID | Members' | Bulk | VAT number | Phone | Email address | Building/Street | City | State/Province | Zip | Country | PO Box | City | State | Zip | Country | PO Box | City | State | Zip | Country
Raka | HH |  |  |  | 87 425 7813 | jahills@example.com | De Vos rd 14 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1246 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1246 | Cape Town | Western Cape | 8001 | South Africa
Umlambo Wothando | KL |  |  |  | 82 897 4789 | umlambo@example.com | Bracken str 178 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1247 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1247 | Cape Town | Western Cape | 8001 | South Africa
Tsolo | MY |  |  |  | 86 356 9026 | tsolo@example.com | Cunningham rd 915 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1248 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1248 | Cape Town | Western Cape | 8001 | South Africa
Coffee Bay | RUF |  |  |  | 86 283 9012 | coffeebay@example.com | Kuilsriver ln 25 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1249 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1249 | Cape Town | Western Cape | 8001 | South Africa
Mandini Farms | SS |  |  |  | 84 718 9721 | mandini@example.com | Lightholm ave 617 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1250 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1250 | Cape Town | Western Cape | 8001 | South Africa

## Client Contacts
Client_title | Salutation | Firstname | Surname | Username | Password | JobTitle | Department | BusinessPhone | HomePhone | MobilePhone | EmailAddress | PublicationPreference | CCContacts | AttachmentsPermitted | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Client Contacts | Client staff the LIMS and lab communicate with | [6 empty] | Phone |  |  |  | COA |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Client title | Salutation | ⭐ First name | ⭐ Surname | Username | Password | Job title | Department | Business | Home | Mobile | Email address | Publication preference | Colleagues cc'd | Attachments? Y/N | Building/Street | City | State/Province | Zip | Country | PO Box | City | State/Province | Zip | Country
Raka | Ms | Rita | Mohale | rita | ritamo | Product assistant | Chemistry | 038 664 6469 | 038 664 7338 | 038 664 7757 | mohale@example.com | email,pdf | Akua Abebe | Permitted | De Vos rd 14 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1246 | Cape Town | Western Cape | 8001 | South Africa
Raka | Ms | Akua | Abebe | akua | akuaab | Manager | Nutrient management | 040 666 6630 | 040 666 7834 | 040 666 7858 | seemonster@example.com | email,pdf | Rita Mohale | Permitted | De Vos rd 14 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1246 | Cape Town | Western Cape | 8001 | South Africa
Raka | Mr | Baako | Buhle | baako | baako | Research assistant | Product development | 035 597 5814 | 035 597 6876 | 035 597 6344 | standard@example.com | email,pdf | Akua Abebe | Permitted | De Vos rd 14 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1246 | Cape Town | Western Cape | 8001 | South Africa
Umlambo Wothando | Ms | Bongani | Egebe | bongani | bongani | Scientist | Soil science | 036 640 6016 | 036 640 6911 | 036 6407167 | smith@example.com | email,pdf |  | Permitted | Bracken str 178 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1247 | Cape Town | Western Cape | 8001 | South Africa
Tsolo | Mr | Fred | Turner | fred | fredtu | QC manager | Production | 041 670 6654 | 041 670 8002 | 041 670 8848 | turner@example.com | email,pdf |  | Permitted | Cunningham rd 915 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1248 | Cape Town | Western Cape | 8001 | South Africa
Coffee Bay | Ms | Ayo | Adebayo | ayo | ayoad | Controller | Chemistry | 025 557 4204 | 025 557 4531 | 025 557 3131 | ruffian@example.com | email,pdf |  | Permitted | Kuilsriver ln 25 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1249 | Cape Town | Western Cape | 8001 | South Africa
Mandini Farms | Mr | Andre | Corbin | andre | andre | Administrator | R&D | 032 586 5303 | 032 586 6331 | 032 586 5622 | corbin@example.com | email,pdf |  | Permitted | Lightholm ave 617 | Cape Town | Western Cape | 8001 | South Africa | P.O. Box 1250 | Cape Town | Western Cape | 8001 | South Africa

## Attachment Types
title | description
Attachment Types |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Calibration certificate | Certificate issued by service provider
Electron Microscope Image | Electron scanning photo
Image
Instrument Manual | DIgital User and Interface manual
Maintenance/ intervention report | For accreditation records, corrective and preventative actions taken
Microscope Image | Photo in visual range
MSDS | Material safety data sheet
Raw Data | CSV etc.
Report | Results Interpretations, etc.
Sample Image | Photo
SOP | Standard operating prcedure

## Container Types
title | description
Container Types | Used to group classes of containers together | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Basic Sampling Kit
Borehole Sampling Kit
Glass Bottle | Various types of glass bottle
Plastic Bottle | Various types of plastic bottles
Plastic Ziplock | Plastic Ziplock bag

## Preservations
title | description
Preservation | Can be used in pr-preserved sample containers, or when samples are received | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Chill 4 deg C | Chill sample to 3 - 8 deg C
Freeze | Freeze sample to < 18 deg C
H2SO4 | Add conc. H2SO4 pH < 2, refrigerate to < 6 deg C
HNO3 | Filter immediately, add conc. HNO3 to pH < 2, refrigerate to < 6 deg C
Na2S2O3 | Micro Na2S2O3 Chill 4 deg C
Room temperature | Dry food and feeds, Fertilizer, Milk Powder

## Containers
title | description | Capacity | ContainerType_title | PrePreserved | Preservation_title
Sample Containers | [5 empty] | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | Capacity | Container type title | Pre-preserved? | Preservation title
Chem Bottle - 1 L |  | 1 L | Plastic Bottle | 0
Chem Bottle - 250 mL |  | 250 mL | Plastic Bottle | 0
Micro bottle - 1 L |  | 1 L | Plastic Bottle | 1 | Chill 4 deg C
Micro bottle - 500 mL |  | 500 mL | Plastic Bottle | 1 | Chill 4 deg C
Micro Na2S2O3 bottle - 1 L |  | 1 L | Plastic Bottle | 1 | Na2S2O3
Micro Na2S2O3 bottle - 500 mL |  | 500 mL | Plastic Bottle | 1 | Na2S2O3
Basic Sample Kit | 120mL Idexx Sample vessel + 500mL chemistry bottle | 120ml + 500mL | Basic Sampling Kit | 1 | Chill 4 deg C
Borehole Sample Kit | 100mL Glass micro + 500mL chemistry bottle | 100ml + 500mL | Borehole Sampling Kit | 1 | Chill 4 deg C

## Storage Locations
Address | SiteTitle | SiteCode | SiteDescription | LocationTitle | LocationCode | LocationDescription | LocationType | ShelfTitle | ShelfCode | ShelfDescription
Storage Locations | Site |  |  | Location |  |  |  | Shelf |  |  | Creative Commons BYSA Bika Lab Systems
Address | Site Title | Site Code | Site Description | Location Title | Location Code | Location Description | LocationType | Shelf Title | Shelf Code | Shelf Description

## Sample Matrices
title | description
| Sample Type categories | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Air
Soil
Water

## Sample Types
title | description | RetentionPeriod | Hazardous | SampleMatrix_title | Prefix | MinimumVolume | ContainerType_title
Sample Types |  | Retention period (days) | Hazardous | Sample matrix | ⭐ Prefix Does not have to be unique | ⭐ Minimum volume or weight | Container type | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Boiler Water |  | 31 | 1 | Water | BLR | 250 mL | Plastic Bottle
Borehole Water |  | 31 | 1 | Water | BHW | 250 mL | Plastic Bottle
Bottled water |  | 31 | 1 | Water | BW | 250 mL | Plastic Bottle
Condenser Water |  | 30 | 0 | Water | CDR | 250 mL | Plastic Bottle
Cooling System Water |  | 30 | 0 | Water | CLS | 250 mL | Plastic Bottle
Drinking Water | Potable water | 30 | 0 | Water | DWT | 250 mL | Plastic Bottle
Ground Water | Boreholes, mines | 30 | 1 | Water | GWT | 250 mL | Plastic Bottle
Industrial Effluent |  | 30 | 1 | Water | IDE | 250 mL | Plastic Bottle
Irrigation water |  | 30 | 1 | Water | IW | 250 mL | Plastic Bottle
Other |  | 30 | 1 | Water | O | 250 mL | Plastic Bottle
Potable |  | 30 | 0 | Water | POT | 250 mL | Plastic Bottle
Recreational Water | Pool, hammam, sauna, jacuzzi | 30 | 0 | Water | RWT | 250 mL | Plastic Bottle
River Water |  | 30 | 1 | Water | RVR | 250 mL | Plastic Bottle
Sea Water | Ocean surface samples | 30 | 0 | Water | OWT | 250 mL | Plastic Bottle
Sewage | Raw Industrial/Domestic sewage, excluding Condenser Waste Water, which requires a different specification | 30 | 1 | Water | SEW | 250 mL | Plastic Bottle
Sludge |  | 30 | 1 | Water | SLD | 250 mL | Plastic Bottle
Surface Water | Lakes and Dams | 30 | 0 | Water | SWT | 250 mL | Plastic Bottle
Wastewater |  | 30 | 1 | Water | WW | 250 mL | Plastic Bottle

## Sample Points
Client_title | title | description | Latitude | Longitude | Elevation | Composite | SampleType_title
Sample Points |  |  | Geographic Coordinates |  |  |  |  | Creative Commons BYSA Bika Lab Systems
Client | ⭐ Sample Point | Description | Latitude | Longitude | Elevation | Composite? Y/N | Sample Type
Raka | River |  |  |  |  | 0 | River Water
Raka | Blue Beach |  |  |  |  | 0 | Sea Water
Raka | Spring |  |  |  |  | 0 | Ground Water
Raka | Fountain |  |  |  |  | 0 | Recreational Water
Raka | Park |  |  |  |  | 0 | Recreational Water
Raka | Pond |  |  |  |  | 0 | Surface Water
Raka | Reservoir |  |  |  |  | 0 | Drinking water
Raka | Dam |  |  |  |  | 0 | Surface Water
Raka | House 0671 |  |  |  |  | 0 | Drinking water
Raka | House 1175 |  |  |  |  | 0 | Drinking water
Raka | House 0167 |  |  |  |  | 0 | Drinking water
Raka | House 1679 |  |  |  |  | 0 | Drinking water
| Post Office |  |  |  |  | 0 | Drinking water
| Supermarket |  |  |  |  | 0 | Bottled water
| Train Station |  |  |  |  | 0 | Drinking water
| Sports Centre |  |  |  |  | 0 | Drinking water
| Factory |  |  |  |  | 0 | Industrial Effluent
| Castle |  |  |  |  | 0 | Surface Water
| Cinema |  |  |  |  | 0 | Bottled water
| School |  |  |  |  | 0 | Drinking water
| Market Square |  |  |  |  | 0 | Recreational Water
| Clinic |  |  |  |  | 0 | Drinking water

## Instrument Types
title | description
Instrument Types |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Unknown

## Sample Point Sample Types
SamplePoint_title | SampleType_title
Sample Point Sample Types |  | Creative Commons BYSA Bika Lab Systems
⭐ Sample point | ⭐ Sample type
River | River Water
River | Borehole Water
Blue Beach | Sea Water
Park | River Water
Pond | River Water

## Suppliers
Name | AccountNumber | TaxNumber | Phone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country | Billing_Address | Billing_City | Billing_State | Billing_Zip | Billing_Country
Suppliers |  |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Billing Address |  |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Name | Lab Account ID at Supplier | Tax Number | Phone | Email | Building/Street | City | State | Zip | Country | PO Box | City | State | Zip | Country | PO Box | City | State | Zip | Country
Inhouse IT | B5687254 | 28394954AB | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa
Inhouse QC |  |  | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa
Bika Lab Systems | TY76840 | VA62373849 | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa
Lab ZEX | TY76840 | VA62373849 | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa
Instruments Inc. | Bika70986 | 738495490cd | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa
Reference Corp. | Bika8790- | 64839230-FG | +27 82 342 6789 | supplier@example.com | 22 Main | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa | Box 11 | Cape Town | Western Cape | 8001 | South Africa

## Supplier Contacts
Supplier_Name | Salutation | Firstname | Surname | JobTitle | Department | BusinessPhone | HomePhone | MobilePhone | EmailAddress | Physical_Address | Physical_City | Physical_State | Physical_Zip | Physical_Country | Postal_Address | Postal_City | Postal_State | Postal_Zip | Postal_Country
Supplier Contacts | [5 empty] | Phone |  |  |  | Physical Address |  |  |  |  | Postal Address |  |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Supplier Title | Salutation | ⭐ First name | ⭐ Surname | Job Title | Department | Business | Home | Mobile | Email | Buiding/Street | City | State | Zip | Country | PO Box | City | State | Zip | Country
Instruments Inc. | Ms | Ingrid | Instrument | Rep | Sales | 021 798 6786 | 021 798 6786 | 083 899 1267 | ingrid@example.com | Milner | Cape Town | Western Cape | 8001 | South Africa | Box 10 | Cape Town | Western Cape | 8001 | South Africa

## Manufacturers
title | description
Manufacturers |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Unknown

## Calculations
title | description | Formula
Results Calculations |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | Formula
Dilution | Grcsup radox infinetto | [Reading] * [Factor]

## Calculation Interim Fields
Calculation_title | keyword | title | hidden | value | unit
Calculation Interim fields | [5 empty] | Creative Commons BYSA Bika Lab Systems
⭐ Calculation title | ⭐ Keyword | ⭐ Title | Hidden? Y/N | Default value | Unit
Dilution | Factor | Factor | 0 | 1
Dilution | Reading | Reading | 0 | 0 | mg/L

## Instruments
assetnumber | title | description | Type | Brand | Supplier | Model | SerialNo | Location | Instalationdate | InstalationCertificate | Photo | UserManualFile | UserManualID | UserManualVersion | UserManualLocation | DataInterface | DataInterfaceOptions
Lab Instruments | [9 empty] | Uploads |  | User Manual |  |  |  | Interface |  | Creative Commons BYSA Bika Lab Systems
Asset number | ⭐ Title On the lab floor | Description | ⭐ Instrument type | ⭐ Manufacturer | ⭐ Supplier | Model | Serial no | Location | Install date | Installation Certificate | Photo | Upload file | ID | Version | Location | Title | Options
Inst22-001 | Balance | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-013 | Microscope | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-012 | Multi purpose Probe | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-021 | Smart Meter | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-022 | Spectrophotometer | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-029 | Thermometer | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03
Inst22-028 | Titrator | Ipsem lorem van der merwex xcocet | Unknown | Unknown | Instruments Inc. | GTS 5 | 12345 |  | 2022-01-03

## Instrument Methods
Instrument_title | Method_title
Instrument – Methods
Instrument | Method
Multi purpose Probe | APHA 1001 Metals
Multi purpose Probe | APHA 1002 Anions
Microscope | APHA 1003 Microbio
Titrator | APHA 1004 Titration
Multi purpose Probe | APHA 1006 Conductivity
Multi purpose Probe | APHA 1007 pH
Multi purpose Probe | APHA 1008 Sulphate
Thermometer | APHA 1009 Temp
Smart Meter | APHA 1001 Metals
Smart Meter | APHA 1002 Anions
Smart Meter | APHA 1006 Conductivity
Smart Meter | APHA 1007 pH
Smart Meter | APHA 1008 Sulphate

## Methods
MethodID | title | description | Instructions | MethodDocument | Calculation_title | Instrument_title | Subcontractor_title | Accredited
| Analysis Methods | [7 empty] | Creative Commons BYSA Bika Lab Systems
ID | ⭐ Title | Description | Instructions | Method document | Calculation | Instrument | Subcontractor | Accredited?
| APHA 1001 Metals | Lorem Ipsum | Dolar summer set |  |  |  | Lab ZEX | 0
| APHA 1002 Anions | Lorem Ipsum | Dolar summer set |  |  |  | Lab ZEX | 0
| APHA 1003 Microbio | Lorem Ipsum | Dolar summer set |  |  |  |  | 1
| APHA 1004 Titration | Lorem Ipsum | Dolar summer set |  | Dilution |  |  | 1
| APHA 1005 Colour | Lorem Ipsum | Dolar summer set |  |  |  |  | 1
| APHA 1006 Conductivity | Lorem Ipsum | Dolar summer set |  | Dilution |  |  | 0
| APHA 1007 pH | Lorem Ipsum | Dolar summer set |  |  |  |  | 0
| APHA 1008 Sulphate | Lorem Ipsum | Dolar summer set |  |  |  |  | 0
| APHA 1009 Temp | Lorem Ipsum | Dolar summer set |  |  |  |  | 0
| APHA 1010 Filtration | Lorem Ipsum | Dolar summer set |  |  |  |  | 0

## Instrument Certifications
title | instrument | date | validfrom | validto | agency | preparedby | approvedby | remarks | report
Instrument Calibration and Maintenance Certificates |  | Dates |  |  | Responsibles |  |  |  |  | Creative Commons BYSA Bika Lab Systems
Certificate ID | ⭐ Instrument | Issued | ⭐ Valid from | ⭐ Valid to | Agency | Prepared by | Approved by | Remarks | Report upload file
ICal22-001 | Balance | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-002 | Microscope | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-003 | Multi purpose Probe | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-004 | Smart Meter | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-005 | Spectrophotometer | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-006 | Thermometer | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate
ICal22-007 | Titrator | 2022-01-03 | 2022-01-01 | 2026-01-01 | Bika Lab Systems | Mpasa Manager | Mpasa Manager | Pre-commissioning inspection certificate

## Analysis Categories
title | description | Department_title | SortKey
Analysis Categories |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | ⭐ Department | SortKey
Anions | Desc unset bripajux | Chemistry | 10
Inorganic Nonmetalic | Desc unset bripajux | Chemistry | 20
Metals and Cations | Desc unset bripajux | Chemistry | 30
Microbiology | Desc unset bripajux | Microbiology | 40
Organic | Desc unset bripajux | Chemistry | 50
Physical Properties | Desc unset bripajux | Chemistry | 60

## Analysis Services
ProtocolID | CommercialID | title | ShortTitle | description | Keyword | PointOfCapture | AnalysisCategory_title | Department_title | Attachment | Unit | Precision | ExponentialFormatPrecision | MaxTimeAllowed_days | MaxTimeAllowed_hours | MaxTimeAllowed_minutes | Price | BulkPrice | VAT | DefaultMethod_title | DefaultInstrument_title | DuplicateVariation | Accredited | LowerDetectionLimit | UpperDetectionLimit | DetectionLimitSelector | Separate | Container_title | Preservation_title | SortKey
[5 empty] | ASs |  |  |  |  | Precision |  |  | Max TAT Turnaround Time |  |  | Price |  |  | Method defaults | [6 empty] | Container and Preservation Defaults |  |  |  | Creative Commons BYSA Bika Lab Systems
Protocol ID | Commercial ID | ⭐ Title | Short Title | Description | ⭐ Keyword | ⭐ Point of capture | ⭐ Analysis category | ⭐ Lab department | ⭐ Attachments? Y/N | Unit | Standard | ⭐ Exponential format | Days | Hours | Minutes | Standard | Bulk | VAT % | Method | Instrument | Duplicate variation % | Accredited? Y/N | Lower. LDL | Upper. UDL | Selector? Y/N | Separate? Y/N | Container | Preservation | SortKey
AS-210 | ComID001 | Chloride |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Chloride | lab | Anions | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1002 Anions | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 10
AS-120 | ComID002 | Free Chlorine |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | FreeCl | lab | Anions | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1002 Anions | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 20
AS-160 | ComID003 | Aluminium |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Aluminium | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 10
AS-211 | ComID004 | Calcium |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Calcium | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 20
AS-180 | ComID005 | Iron |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Fe | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 30
AS-212 | ComID006 | Magnesium |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Magnesium | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 40
AS-186 | ComID007 | Manganese |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Mn | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 50
AS-209 | ComID008 | Sodium |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Sodium | lab | Metals and Cations | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1001 Metals | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 60
AS-188 | ComID009 | E.coli Detection |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Ecoli | lab | Microbiology | Microbiology | Permitted | CFU/100mL | 1 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1003 Microbio | Microscope | 5 | 0 | 0 | 100 | 0 | 0 |  |  | 10
AS-207 | ComID010 | Heterotrophic Plate Count |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | HPC | lab | Microbiology | Microbiology | Permitted | CFU/100mL | 1 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1003 Microbio | Microscope | 5 | 0 | 0 | 100 | 0 | 0 |  |  | 20
AS-206 | ComID011 | Total Coliforms |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | TotalColoforms | lab | Microbiology | Microbiology | Permitted | CFU/100mL | 1 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1003 Microbio | Microscope | 5 | 0 | 0 | 100 | 0 | 0 |  |  | 30
AS-121 | ComID012 | Alkalinity |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Alkalinity | lab | Physical Properties | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1004 Titration | Titrator | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 10
AS-119 | ComID013 | Colour |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Colour | lab | Physical Properties | Chemistry | Permitted |  | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1005 Colour |  | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 20
AS-013 | ComID014 | Conductivity |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | EC | lab | Physical Properties | Chemistry | Permitted | microS/cm | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1006 Conductivity | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 30
AS-009 | ComID015 | pH |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | pH | lab | Physical Properties | Chemistry | Permitted |  | 1 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1007 pH | Multi purpose Probe | 5 | 0 | 4 | 11 | 0 | 0 |  |  | 40
AS-208 | ComID016 | Sulphate |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Sulphate | lab | Physical Properties | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1008 Sulphate | Multi purpose Probe | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 50
AS-118 | ComID017 | Temperature |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Temp | field | Physical Properties | Chemistry | Permitted | °C | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1009 Temp | Thermometer | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 60
AS-213 | ComID018 | Total Dissolved Salts |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | TDS | lab | Physical Properties | Chemistry | Permitted | mg/L | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1010 Filtration |  | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 70
AS-011 | ComID019 | Turbidity |  | Cloribalo unsuc ferasse patozici und nu nu patr parpazzo | Turbidity | lab | Physical Properties | Chemistry | Permitted | NTU | 2 | 7 | 5 | 0 | 0 | 10 | 8 | 15 | APHA 1004 Titration | Titrator | 5 | 0 | 0.05 | 1000 | 0 | 0 |  |  | 80

## AnalysisService Methods
Service_title | Method_title
Analysis Services – Methods
Service title | Method title
Chloride | APHA 1004 Titration
Free Chlorine | APHA 1004 Titration
Conductivity | APHA 1004 Titration
pH | APHA 1004 Titration
Sulphate | APHA 1004 Titration

## AnalysisService Instruments
Service_title | Instrument_title
Analysis Services – Instruments
Service title | Instrument title
Chloride | Titrator
Free Chlorine | Titrator
Conductivity | Titrator
pH | Titrator
Sulphate | Titrator

## AnalysisService InterimFields
Service_title | keyword | title | value | unit
Interim Fields Used In Analysis Services
Service Title | Keyword | Field Title | Default value | Unit

## AnalysisService ResultOptions
Service_title | Keyword | ResultText | ResultValue
Analysis Service Results Options |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Keyword | ⭐ Option | ⭐ Option value
E.coli Detection |  | Detected | 1
E.coli Detection |  | Indeterminable | 0
E.coli Detection |  | Not Detected | -1
Colour |  | Clear | 0
Colour |  | Muddy Brown | 1
Colour |  | Green | 2

## Analysis Service Uncertainties
Service_title | Keyword | Range Min | Range Max | Uncertainty Value
Analysis Service Uncertainties |  | Range |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Analysis Service Title | AS Keyword | ⭐ Minimum | ⭐ Maximum | ⭐ Uncertainty
Chloride |  | 0 | 999999 | 3%
Free Chlorine |  | 0 | 999999 | 3%
Aluminium |  | 0 | 999999 | 3%
Calcium |  | 0 | 999999 | 3%
Iron |  | 0 | 999999 | 3%
Magnesium |  | 0 | 999999 | 3%
Manganese |  | 0 | 999999 | 3%
Sodium |  | 0 | 999999 | 3%
Heterotrophic Plate Count |  | 0 | 999999 | 3%
Total Coliforms |  | 0 | 999999 | 3%
Alkalinity |  | 0 | 999999 | 3%
Conductivity |  | 0 | 999999 | 3%
pH |  | 0 | 999999 | 3%
Sulphate |  | 0 | 999999 | 3%
Temperature |  | 0 | 999999 | 3%
Total Dissolved Salts |  | 0 | 999999 | 3%
Turbidity |  | 0 | 999999 | 3%

## Analysis Specifications
Client_title | Title | Description | SampleType_title | service | Keyword | min | max
| Analysis Specifications |  |  | Analysis Services |  | Valid range |  | Product, Regulatory and scientific standards and valid ranges, limits | Creative Commons BYSA Bika Lab Systems
Client | ⭐ Title | Description | ⭐ Sample type | ⭐ Title | Keyword | Minimum | Maximum
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Alkalinity | Alkalinity |  | 100
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Aluminium | Aluminium |  | 0.2
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Calcium | Calcium |  | 10
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Chloride | Chloride |  | 250
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Colour | Colour |  | 0
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Conductivity | EC |  | 400
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | E.coli Detection | Ecoli | -1 | -1
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Free Chlorine | FreeCl | 0 | 250
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Heterotrophic Plate Count | HPC | 0 | 0
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Iron | Fe | 0 | 0.02
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Magnesium | Magnesium | 0 | 10
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Manganese | Mn | 0 | 750
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | pH | pH | 5.5 | 8.5
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Sodium | Sodium | 0 | 400
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Sulphate | Sulphate | 0 | 250
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Temperature | Temp | 20 | 28
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Total Coliforms | TotalColoforms | 0 | 0
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Total Dissolved Salts | TDS | 0 | 500
| WHO Drinking Water Standards | WHO, 2015 rev 12B | Drinking Water | Turbidity | Turbidity | 0 | 20

## Analysis Profiles
Client_title | title | description | ProfileKey | CostCode | UseAnalysisProfilePrice | Price | VAT
Analysis Profiles |  | Panels of Tests frequently ordered together | [5 empty] | Creative Commons BYSA Bika Lab Systems
Client | ⭐ Title | Description | ⭐ Keyword | Cost code | Use Profile Price | Price | VAT %
Raka | Borehole Water |  | BoreholeWater |  | TRUE | 125 | 15
| Drinking Water |  | DrinkingWaterstandard |  | TRUE | 125 | 15

## Analysis Profile Services
Profile | Service | keyword
Analysis Profile Services |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Profile | ⭐ AS Title | AS Keyword
Borehole Water | Alkalinity | Alkalinity
Borehole Water | Aluminium | Aluminium
Borehole Water | Calcium | Calcium
Borehole Water | Chloride | Chloride
Borehole Water | Conductivity | EC
Borehole Water | Iron | Fe
Borehole Water | Magnesium | Magnesium
Borehole Water | Manganese | Mn
Borehole Water | pH | pH
Borehole Water | Sodium | Sodium
Borehole Water | Sulphate | Sulphate
Borehole Water | Total Dissolved Salts | TDS
Borehole Water | Turbidity | Turbidity
Drinking Water | Alkalinity | Alkalinity
Drinking Water | Aluminium | Aluminium
Drinking Water | Calcium | Calcium
Drinking Water | Chloride | Chloride
Drinking Water | Colour | Colour
Drinking Water | Conductivity | EC
Drinking Water | E.coli Detection | Ecoli
Drinking Water | Free Chlorine | FreeCl
Drinking Water | Heterotrophic Plate Count | HPC
Drinking Water | Iron | Fe
Drinking Water | Magnesium | Magnesium
Drinking Water | Manganese | Mn
Drinking Water | pH | pH
Drinking Water | Sodium | Sodium
Drinking Water | Sulphate | Sulphate
Drinking Water | Temperature | Temp
Drinking Water | Total Coliforms | TotalColoforms
Drinking Water | Total Dissolved Salts | TDS
Drinking Water | Turbidity | Turbidity

## Analysis Profile Sample Types
Profile | SampleType_title
Analysis Profile Sample Types |  | Creative Commons BYSA Bika Lab Systems
⭐ Profile | ⭐ Sample Type Title

## AR Templates
title | Client_title | description | SampleType_title | SamplePoint_title | AnalysisProfile_title
Sample Registration Templates |  |  | Analysis Request forms |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Client | Description | Sample Type | Sample Point | Analysis Profile

## AR Template Analyses
ARTemplate | service_uid | keyword | partition
Sample Template Analyses |  |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Template | ⭐ Analysis Service | Keyword | Partition

## AR Template Partitions
ARTemplate | part_id | container | preservation
Sample Template Partitions |  | The different containers the Sample parts are collected in |  | Creative Commons BYSA Bika Lab Systems
⭐ Template | ⭐ Partition | Container | Preservation

## Reference Definitions
title | description | Hazardous | Blank
Reference Definitions | QC standards |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | Hazardous? Y/N | Blank? Y/N
Distilled Water | Distilled Water | 0 | 1
Complete | Full House | 1 | 0

## Reference Definition Results
ReferenceDefinition_title | service | Keyword | result | min | max
Reference Definition results specifications |  |  |  | Valid Range |  | Creative Commons BYSA Bika Lab Systems
⭐ Reference Definition | ⭐ Analysis Service | Keyword | ⭐ Result Specified | ⭐ Minimum | ⭐ Maximum
Distilled Water | Alkalinity | Alkalinity | 0 | 0 | 0.1
Distilled Water | Aluminium | Aluminium | 0 | 0 | 0.01
Distilled Water | Calcium | Calcium | 0 | 0 | 0.01
Distilled Water | Chloride | Chloride | 0 | 0 | 0.1
Distilled Water | Colour | Colour | 1 | 1 | 1
Distilled Water | Conductivity | EC | 0 | 0 | 0.1
Distilled Water | E.coli Detection | Ecoli | 0 | 0 | 0
Distilled Water | Free Chlorine | FreeCl | 0 | 0 | 0.1
Distilled Water | Heterotrophic Plate Count | HPC | 0 | 0 | 0
Distilled Water | Iron | Fe | 0 | 0 | 0.01
Distilled Water | Magnesium | Magnesium | 0 | 0 | 0.01
Distilled Water | Manganese | Mn | 0 | 0 | 0.1
Distilled Water | pH | pH | 7 | 6.3 | 7.7
Distilled Water | Sodium | Sodium | 0 | 0 | 0.1
Distilled Water | Sulphate | Sulphate | 0 | 0 | 0.1
Distilled Water | Temperature | Temp | 0 | 0 | 0.01
Distilled Water | Total Coliforms | TotalColoforms | 0 | 0 | 0
Distilled Water | Total Dissolved Salts | TDS | 0 | 0 | 0.1
Distilled Water | Turbidity | Turbidity | 0 | 0 | 0.01
Complete | Alkalinity | Alkalinity | 25 | 22.5 | 27.5
Complete | Aluminium | Aluminium | 0.05 | 0.045 | 0.055
Complete | Calcium | Calcium | 2.5 | 2.25 | 2.75
Complete | Chloride | Chloride | 62.5 | 56.25 | 68.75
Complete | Conductivity | EC | 100 | 90 | 110
Complete | Free Chlorine | FreeCl | 62.5 | 56.25 | 68.75
Complete | Iron | Fe | 0.005 | 0.0045 | 0.0055
Complete | Magnesium | Magnesium | 2.5 | 2.25 | 2.75
Complete | Manganese | Mn | 187.5 | 168.75 | 206.25
Complete | pH | pH | 8.3 | 7.47 | 0.913
Complete | Sodium | Sodium | 100 | 90 | 110
Complete | Sulphate | Sulphate | 62.5 | 56.25 | 68.75
Complete | Temperature | Temp | 7 | 6.3 | 7.7
Complete | Total Dissolved Salts | TDS | 125 | 112.5 | 137.5
Complete | Turbidity | Turbidity | 5 | 4.5 | 5.5

## Worksheet Templates
title | description | Instrument_title
Worksheet Templates |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description | Instrument
Metals
Micro Biology

## Worksheet Template Services
WorksheetTemplate_title | service | Keyword
Worksheet Template Services |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Template | ⭐ Analysis Service | Keyword
Metals | Aluminium | Aluminium
Metals | Calcium | Calcium
Metals | Iron | Fe
Metals | Magnesium | Magnesium
Metals | Manganese | Mn
Metals | Sodium | Sodium
Micro Biology | E.coli Detection | Ecoli
Micro Biology | Heterotrophic Plate Count | HPC
Micro Biology | Total Coliforms | TotalColoforms

## Worksheet Template Layouts
WorksheetTemplate_title | pos | type | blank_ref | control_ref | dup
Worksheet Template Layouts |  |  | Select QC Reference Definitions to use |  |  | Creative Commons BYSA Bika Lab Systems
⭐ Template | ⭐ WS Position | ⭐ Routine or QC Analysis | If Blank | If Control | If Duplicate, Position
Metals | 1 | Blank | Distilled Water
Metals | 2 | Control |  | Complete
Metals | 3 | Analysis
Metals | 4 | Analysis
Metals | 5 | Analysis
Metals | 6 | Analysis
Metals | 7 | Analysis
Metals | 8 | Analysis
Metals | 9 | Analysis
Metals | 10 | Analysis
Micro Biology | 1 | Analysis
Micro Biology | 2 | Analysis
Micro Biology | 3 | Analysis
Micro Biology | 4 | Analysis
Micro Biology | 5 | Analysis
Micro Biology | 6 | Analysis
Micro Biology | 7 | Analysis
Micro Biology | 8 | Analysis
Micro Biology | 9 | Analysis
Micro Biology | 10 | Analysis |  |  | 3

## Sampling Deviations
title | description
Sampling Deviations |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Auto-sampler | Robotic inline sample grabber
Sampled by 3rd Party | A Contracted organisation did the sampling
Sampled by Client | The client collected and submitted the sample
Sampled by Lab | Using the lab's sampler team on field trips

## Sample Conditions
title | description
Sample Conditions |  | Creative Commons BYSA Bika Lab Systems
⭐ Title | Description
Good
Compromised
Leaking
Empty

## Setup
Field | Description | Value
| Setup – Global defaults |  | Creative Commons BYSA Bika Lab Systems
Field | Description | Value
Currency | Currency | USD
ShowPartitions | Use Sample Partitions? Y/N | 1
ShowPricing | Use Prices? Y/N | 1
MemberDiscount | Member discount % | 10
VAT | Vat % | 15
MinimumResults | Minimum data points for graphs | 5
BatchEmail | Maximum email batch size | 10
SamplingWorkflowEnabled | Enable Sampling workflow? Y/N | 1
ScheduleSamplingEnabled | Enable Scheduled Sampling? Y/N | 0
CategoriseAnalysisServices | Categorise Analysis Services? | 1
ARAttachmentOption | Allow Sample Attachments? Y/N | 1
AnalysisAttachmentOption | Allow COA Attachments? Y/N | 1
DefaultSampleLifetime_days | Default Sample Retention Period; Days | 5
DefaultSampleLifetime_hours | Hours | 0
DefaultSampleLifetime_minutes | Minutes | 0
AutoPrintLabels | When are Samples first labeled? | register
AutoLabelSize | Default label size | normal
DefaultCountry | Default Country | South Africa

## Constants
Authorisation |  | Options |  | Auto Labels |  | Boolean | Publication Preferences | North South | East West | Point of capture | Country
Groups | Roles | Sample Import | Results Attachment | Size | When | [5 empty] | Number | Title | Code
Analysts | Analyst | Classic | Not Permitted | normal | receive | 0 | email | N | E | field | 4 | Afghanistan | AF
LabClerks | LabClerk | Profiles | Permitted | small | register | 1 | pdf | S | W | lab | 248 | Åland Islands | AX
LabManagers | LabManager | Special | Required |  | none |  | email,pdf |  |  |  | 8 | Albania | AL
Preservers | Preserver | [9 empty] | 12 | Algeria | DZ
Publishers | Publisher | [9 empty] | 16 | American Samoa | AS
Regulatory Inspector | Sampler | [9 empty] | 20 | Andorra | AD
Samplers | Verifier | [9 empty] | 24 | Angola | AO
Verifiers | [10 empty] | 660 | Anguilla | AI
[11 empty] | 10 | Antarctica | AQ
Salutation | Currency | Partitions | Worksheet template analysis types | Client types | Gender | Instrument Task Types |  |  |  |  | 28 | Antigua and Barbuda | AG
[6 empty] | Maintenance | Scheduled | Repeat unit |  |  | 32 | Argentina | AR
Mr | AED | part-1 | Blank | Corporate | Male | Preventive | Preventive | Days |  |  | 51 | Armenia | AM
Ms | AFN | part-2 | Control | Non-corporate | Female | Repair | Repair | Weeks |  |  | 533 | Aruba | AW
Dr | ALL | part-3 | Analysis |  | Don't Know | Enhancement | Enhancement | Months |  |  | 36 | Australia | AU
Prof | AMD | part-4 | Duplicate |  |  |  | Calibration | Years |  |  | 40 | Austria | AT
| ANG | part-5 |  |  |  |  | Validation |  |  |  | 31 | Azerbaijan | AZ
| AOA | part-6 | [8 empty] | 44 | Bahamas | BS
| ARS | part-7 | [8 empty] | 48 | Bahrain | BH
| AUD | part-8 | [8 empty] | 50 | Bangladesh | BD
| AWG | part-9 | [8 empty] | 52 | Barbados | BB
| AZN | part-10 | [8 empty] | 112 | Belarus | BY
| BAM | part-11 | [8 empty] | 56 | Belgium | BE
| BBD | part-12 | [8 empty] | 84 | Belize | BZ
| BDT | [9 empty] | 204 | Benin | BJ
| BGN | [9 empty] | 60 | Bermuda | BM
| BHD | [9 empty] | 64 | Bhutan | BT
| BIF | [9 empty] | 68 | Bolivia, Plurinational State of | BO
| BMD | [9 empty] | 535 | Bonaire, Sint Eustatius and Saba | BQ
| BND | [9 empty] | 70 | Bosnia and Herzegovina | BA
| BOB | [9 empty] | 72 | Botswana | BW
| BOV | [9 empty] | 74 | Bouvet Island | BV
| BRL | [9 empty] | 76 | Brazil | BR
| BSD | [9 empty] | 86 | British Indian Ocean Territory | IO
| BTN | [9 empty] | 96 | Brunei Darussalam | BN
| BWP | [9 empty] | 100 | Bulgaria | BG
| BYR | [9 empty] | 854 | Burkina Faso | BF
| BZD | [9 empty] | 108 | Burundi | BI
| CAD | [9 empty] | 116 | Cambodia | KH
| CDF | [9 empty] | 120 | Cameroon | CM
| CHE | [9 empty] | 124 | Canada | CA
| CHF | [9 empty] | 132 | Cape Verde | CV
| CHW | [9 empty] | 136 | Cayman Islands | KY
| CLF | [9 empty] | 140 | Central African Republic | CF
| CLP | [9 empty] | 148 | Chad | TD
| CNY | [9 empty] | 152 | Chile | CL
| COP | [9 empty] | 156 | China | CN
| COU | [9 empty] | 162 | Christmas Island | CX
| CRC | [9 empty] | 166 | Cocos (Keeling) Islands | CC
| CUC | [9 empty] | 170 | Colombia | CO
| CUP | [9 empty] | 174 | Comoros | KM
| CVE | [9 empty] | 178 | Congo | CG
| CZK | [9 empty] | 180 | Congo, the Democratic Republic of the | CD
| DJF | [9 empty] | 184 | Cook Islands | CK
| DKK | [9 empty] | 188 | Costa Rica | CR
| DOP | [9 empty] | 384 | Côte d'Ivoire | CI
| DZD | [9 empty] | 191 | Croatia | HR
| EGP | [9 empty] | 192 | Cuba | CU
| ERN | [9 empty] | 531 | Curaçao | CW
| ETB | [9 empty] | 196 | Cyprus | CY
| EUR | [9 empty] | 203 | Czech Republic | CZ
| FJD | [9 empty] | 208 | Denmark | DK
| FKP | [9 empty] | 262 | Djibouti | DJ
| GBP | [9 empty] | 212 | Dominica | DM
| GEL | [9 empty] | 214 | Dominican Republic | DO
| GHS | [9 empty] | 218 | Ecuador | EC
| GIP | [9 empty] | 818 | Egypt | EG
| GMD | [9 empty] | 222 | El Salvador | SV
| GNF | [9 empty] | 226 | Equatorial Guinea | GQ
| GTQ | [9 empty] | 232 | Eritrea | ER
| GYD | [9 empty] | 233 | Estonia | EE
| HKD | [9 empty] | 231 | Ethiopia | ET
| HNL | [9 empty] | 238 | Falkland Islands (Malvinas) | FK
| HRK | [9 empty] | 234 | Faroe Islands | FO
| HTG | [9 empty] | 242 | Fiji | FJ
| HUF | [9 empty] | 246 | Finland | FI
| IDR | [9 empty] | 250 | France | FR
| ILS | [9 empty] | 254 | French Guiana | GF
| INR | [9 empty] | 258 | French Polynesia | PF
| IQD | [9 empty] | 260 | French Southern Territories | TF
| IRR | [9 empty] | 266 | Gabon | GA
| ISK | [9 empty] | 270 | Gambia | GM
| JMD | [9 empty] | 268 | Georgia | GE
| JOD | [9 empty] | 276 | Germany | DE
| JPY | [9 empty] | 288 | Ghana | GH
| KES | [9 empty] | 292 | Gibraltar | GI
| KGS | [9 empty] | 300 | Greece | GR
| KHR | [9 empty] | 304 | Greenland | GL
| KMF | [9 empty] | 308 | Grenada | GD
| KPW | [9 empty] | 312 | Guadeloupe | GP
| KRW | [9 empty] | 316 | Guam | GU
| KWD | [9 empty] | 320 | Guatemala | GT
| KYD | [9 empty] | 831 | Guernsey | GG
| KZT | [9 empty] | 324 | Guinea | GN
| LAK | [9 empty] | 624 | Guinea-Bissau | GW
| LBP | [9 empty] | 328 | Guyana | GY
| LKR | [9 empty] | 332 | Haiti | HT
| LRD | [9 empty] | 334 | Heard Island and McDonald Islands | HM
| LSL | [9 empty] | 336 | Holy See (Vatican City State) | VA
| LTL | [9 empty] | 340 | Honduras | HN
| LVL | [9 empty] | 344 | Hong Kong | HK
| LYD | [9 empty] | 348 | Hungary | HU
| MAD | [9 empty] | 352 | Iceland | IS
| MDL | [9 empty] | 356 | India | IN
| MGA | [9 empty] | 360 | Indonesia | ID
| MKD | [9 empty] | 364 | Iran, Islamic Republic of | IR
| MMK | [9 empty] | 368 | Iraq | IQ
| MNT | [9 empty] | 372 | Ireland | IE
| MOP | [9 empty] | 833 | Isle of Man | IM
| MRO | [9 empty] | 376 | Israel | IL
| MUR | [9 empty] | 380 | Italy | IT
| MVR | [9 empty] | 388 | Jamaica | JM
| MWK | [9 empty] | 392 | Japan | JP
| MXN | [9 empty] | 832 | Jersey | JE
| MXV | [9 empty] | 400 | Jordan | JO
| MYR | [9 empty] | 398 | Kazakhstan | KZ
| MZN | [9 empty] | 404 | Kenya | KE
| NAD | [9 empty] | 296 | Kiribati | KI
| NGN | [9 empty] | 408 | Korea, Democratic People's Republic of | KP
| NIO | [9 empty] | 410 | Korea, Republic of | KR
| NOK | [9 empty] | 414 | Kuwait | KW
| NPR | [9 empty] | 417 | Kyrgyzstan | KG
| NZD | [9 empty] | 418 | Lao People's Democratic Republic | LA
| OMR | [9 empty] | 428 | Latvia | LV
| PAB | [9 empty] | 422 | Lebanon | LB
| PEN | [9 empty] | 426 | Lesotho | LS
| PGK | [9 empty] | 430 | Liberia | LR
| PHP | [9 empty] | 434 | Libya | LY
| PKR | [9 empty] | 438 | Liechtenstein | LI
| PLN | [9 empty] | 440 | Lithuania | LT
| PYG | [9 empty] | 442 | Luxembourg | LU
| QAR | [9 empty] | 446 | Macao | MO
| RON | [9 empty] | 807 | Macedonia, the former Yugoslav Republic of | MK
| RSD | [9 empty] | 450 | Madagascar | MG
| RUB | [9 empty] | 454 | Malawi | MW
| RWF | [9 empty] | 458 | Malaysia | MY
| SAR | [9 empty] | 462 | Maldives | MV
| SBD | [9 empty] | 466 | Mali | ML
| SCR | [9 empty] | 470 | Malta | MT
| SDG | [9 empty] | 584 | Marshall Islands | MH
| SEK | [9 empty] | 474 | Martinique | MQ
| SGD | [9 empty] | 478 | Mauritania | MR
| SHP | [9 empty] | 480 | Mauritius | MU
| SLL | [9 empty] | 175 | Mayotte | YT
| SOS | [9 empty] | 484 | Mexico | MX
| SRD | [9 empty] | 583 | Micronesia, Federated States of | FM
| SSP | [9 empty] | 498 | Moldova, Republic of | MD
| STD | [9 empty] | 492 | Monaco | MC
| SYP | [9 empty] | 496 | Mongolia | MN
| SZL | [9 empty] | 499 | Montenegro | ME
| THB | [9 empty] | 500 | Montserrat | MS
| TJS | [9 empty] | 504 | Morocco | MA
| TMT | [9 empty] | 508 | Mozambique | MZ
| TND | [9 empty] | 104 | Myanmar | MM
| TOP | [9 empty] | 516 | Namibia | NA
| TRY | [9 empty] | 520 | Nauru | NR
| TTD | [9 empty] | 524 | Nepal | NP
| TWD | [9 empty] | 528 | Netherlands | NL
| TZS | [9 empty] | 540 | New Caledonia | NC
| UAH | [9 empty] | 554 | New Zealand | NZ
| UGX | [9 empty] | 558 | Nicaragua | NI
| USD | [9 empty] | 562 | Niger | NE
| USN | [9 empty] | 566 | Nigeria | NG
| USS | [9 empty] | 570 | Niue | NU
| UYI | [9 empty] | 574 | Norfolk Island | NF
| UYU | [9 empty] | 580 | Northern Mariana Islands | MP
| UZS | [9 empty] | 578 | Norway | NO
| VEF | [9 empty] | 512 | Oman | OM
| VND | [9 empty] | 586 | Pakistan | PK
| VUV | [9 empty] | 585 | Palau | PW
| WST | [9 empty] | 275 | Palestine, State of | PS
| XAF | [9 empty] | 591 | Panama | PA
| XAG | [9 empty] | 598 | Papua New Guinea | PG
| XAU | [9 empty] | 600 | Paraguay | PY
| XBA | [9 empty] | 604 | Peru | PE
| XBB | [9 empty] | 608 | Philippines | PH
| XBC | [9 empty] | 612 | Pitcairn | PN
| XBD | [9 empty] | 616 | Poland | PL
| XCD | [9 empty] | 620 | Portugal | PT
| XDR | [9 empty] | 630 | Puerto Rico | PR
| XFU | [9 empty] | 634 | Qatar | QA
| XOF | [9 empty] | 638 | Réunion | RE
| XPD | [9 empty] | 642 | Romania | RO
| XPF | [9 empty] | 643 | Russian Federation | RU
| XPT | [9 empty] | 646 | Rwanda | RW
| XTS | [9 empty] | 652 | Saint Barthélemy | BL
| XXX | [9 empty] | 654 | Saint Helena, Ascension and Tristan da Cunha | SH
| YER | [9 empty] | 659 | Saint Kitts and Nevis | KN
| ZAR | [9 empty] | 662 | Saint Lucia | LC
| ZMK | [9 empty] | 663 | Saint Martin (French part) | MF
| ZWL | [9 empty] | 666 | Saint Pierre and Miquelon | PM
[11 empty] | 670 | Saint Vincent and the Grenadines | VC
[11 empty] | 882 | Samoa | WS
[11 empty] | 674 | San Marino | SM
[11 empty] | 678 | Sao Tome and Principe | ST
[11 empty] | 682 | Saudi Arabia | SA
[11 empty] | 686 | Senegal | SN
[11 empty] | 688 | Serbia | RS
[11 empty] | 690 | Seychelles | SC
[11 empty] | 694 | Sierra Leone | SL
[11 empty] | 702 | Singapore | SG
[11 empty] | 534 | Sint Maarten (Dutch part) | SX
[11 empty] | 703 | Slovakia | SK
[11 empty] | 705 | Slovenia | SI
[11 empty] | 90 | Solomon Islands | SB
[11 empty] | 706 | Somalia | SO
[11 empty] | 710 | South Africa | ZA
[11 empty] | 239 | South Georgia and the South Sandwich Islands | GS
[11 empty] | 728 | South Sudan | SS
[11 empty] | 724 | Spain | ES
[11 empty] | 144 | Sri Lanka | LK
[11 empty] | 729 | Sudan | SD
[11 empty] | 740 | Suriname | SR
[11 empty] | 744 | Svalbard and Jan Mayen | SJ
[11 empty] | 748 | Swaziland | SZ
[11 empty] | 752 | Sweden | SE
[11 empty] | 756 | Switzerland | CH
[11 empty] | 760 | Syrian Arab Republic | SY
[11 empty] | 158 | Taiwan, Province of China | TW
[11 empty] | 762 | Tajikistan | TJ
[11 empty] | 834 | Tanzania, United Republic of | TZ
[11 empty] | 764 | Thailand | TH
[11 empty] | 626 | Timor-Leste | TL
[11 empty] | 768 | Togo | TG
[11 empty] | 772 | Tokelau | TK
[11 empty] | 776 | Tonga | TO
[11 empty] | 780 | Trinidad and Tobago | TT
[11 empty] | 788 | Tunisia | TN
[11 empty] | 792 | Turkey | TR
[11 empty] | 795 | Turkmenistan | TM
[11 empty] | 796 | Turks and Caicos Islands | TC
[11 empty] | 798 | Tuvalu | TV
[11 empty] | 800 | Uganda | UG
[11 empty] | 804 | Ukraine | UA
[11 empty] | 784 | United Arab Emirates | AE
[11 empty] | 826 | United Kingdom | GB
[11 empty] | 840 | United States | US
[11 empty] | 581 | United States Minor Outlying Islands | UM
[11 empty] | 858 | Uruguay | UY
[11 empty] | 860 | Uzbekistan | UZ
[11 empty] | 548 | Vanuatu | VU
[11 empty] | 862 | Venezuela, Bolivarian Republic of | VE
[11 empty] | 704 | Viet Nam | VN
[11 empty] | 92 | Virgin Islands, British | VG
[11 empty] | 850 | Virgin Islands, U.S. | VI
[11 empty] | 876 | Wallis and Futuna | WF
[11 empty] | 732 | Western Sahara | EH
[11 empty] | 887 | Yemen | YE
[11 empty] | 894 | Zambia | ZM
[11 empty] | 716 | Zimbabwe | ZW

## Countries, Currencies
Countries |  |  | Currency
Numeric code | Country | Country code | Code
4 | Afghanistan | AF | AED
248 | Åland Islands | AX | AFN
8 | Albania | AL | ALL
12 | Algeria | DZ | AMD
16 | American Samoa | AS | ANG
20 | Andorra | AD | AOA
24 | Angola | AO | ARS
660 | Anguilla | AI | AUD
10 | Antarctica | AQ | AWG
28 | Antigua and Barbuda | AG | AZN
32 | Argentina | AR | BAM
51 | Armenia | AM | BBD
533 | Aruba | AW | BDT
36 | Australia | AU | BGN
40 | Austria | AT | BHD
31 | Azerbaijan | AZ | BIF
44 | Bahamas | BS | BMD
48 | Bahrain | BH | BND
50 | Bangladesh | BD | BOB
52 | Barbados | BB | BOV
112 | Belarus | BY | BRL
56 | Belgium | BE | BSD
84 | Belize | BZ | BTN
204 | Benin | BJ | BWP
60 | Bermuda | BM | BYR
64 | Bhutan | BT | BZD
68 | Bolivia, Plurinational State of | BO | CAD
535 | Bonaire, Sint Eustatius and Saba | BQ | CDF
70 | Bosnia and Herzegovina | BA | CHE
72 | Botswana | BW | CHF
74 | Bouvet Island | BV | CHW
76 | Brazil | BR | CLF
86 | British Indian Ocean Territory | IO | CLP
96 | Brunei Darussalam | BN | CNY
100 | Bulgaria | BG | COP
854 | Burkina Faso | BF | COU
108 | Burundi | BI | CRC
116 | Cambodia | KH | CUC
120 | Cameroon | CM | CUP
124 | Canada | CA | CVE
132 | Cape Verde | CV | CZK
136 | Cayman Islands | KY | DJF
140 | Central African Republic | CF | DKK
148 | Chad | TD | DOP
152 | Chile | CL | DZD
156 | China | CN | EGP
162 | Christmas Island | CX | ERN
166 | Cocos (Keeling) Islands | CC | ETB
170 | Colombia | CO | EUR
174 | Comoros | KM | FJD
178 | Congo | CG | FKP
180 | Congo, the Democratic Republic of the | CD | GBP
184 | Cook Islands | CK | GEL
188 | Costa Rica | CR | GHS
384 | Côte d'Ivoire | CI | GIP
191 | Croatia | HR | GMD
192 | Cuba | CU | GNF
531 | Curaçao | CW | GTQ
196 | Cyprus | CY | GYD
203 | Czech Republic | CZ | HKD
208 | Denmark | DK | HNL
262 | Djibouti | DJ | HRK
212 | Dominica | DM | HTG
214 | Dominican Republic | DO | HUF
218 | Ecuador | EC | IDR
818 | Egypt | EG | ILS
222 | El Salvador | SV | INR
226 | Equatorial Guinea | GQ | IQD
232 | Eritrea | ER | IRR
233 | Estonia | EE | ISK
231 | Ethiopia | ET | JMD
238 | Falkland Islands (Malvinas) | FK | JOD
234 | Faroe Islands | FO | JPY
242 | Fiji | FJ | KES
246 | Finland | FI | KGS
250 | France | FR | KHR
254 | French Guiana | GF | KMF
258 | French Polynesia | PF | KPW
260 | French Southern Territories | TF | KRW
266 | Gabon | GA | KWD
270 | Gambia | GM | KYD
268 | Georgia | GE | KZT
276 | Germany | DE | LAK
288 | Ghana | GH | LBP
292 | Gibraltar | GI | LKR
300 | Greece | GR | LRD
304 | Greenland | GL | LSL
308 | Grenada | GD | LTL
312 | Guadeloupe | GP | LVL
316 | Guam | GU | LYD
320 | Guatemala | GT | MAD
831 | Guernsey | GG | MDL
324 | Guinea | GN | MGA
624 | Guinea-Bissau | GW | MKD
328 | Guyana | GY | MMK
332 | Haiti | HT | MNT
334 | Heard Island and McDonald Islands | HM | MOP
336 | Holy See (Vatican City State) | VA | MRO
340 | Honduras | HN | MUR
344 | Hong Kong | HK | MVR
348 | Hungary | HU | MWK
352 | Iceland | IS | MXN
356 | India | IN | MXV
360 | Indonesia | ID | MYR
364 | Iran, Islamic Republic of | IR | MZN
368 | Iraq | IQ | NAD
372 | Ireland | IE | NGN
833 | Isle of Man | IM | NIO
376 | Israel | IL | NOK
380 | Italy | IT | NPR
388 | Jamaica | JM | NZD
392 | Japan | JP | OMR
832 | Jersey | JE | PAB
400 | Jordan | JO | PEN
398 | Kazakhstan | KZ | PGK
404 | Kenya | KE | PHP
296 | Kiribati | KI | PKR
408 | Korea, Democratic People's Republic of | KP | PLN
410 | Korea, Republic of | KR | PYG
414 | Kuwait | KW | QAR
417 | Kyrgyzstan | KG | RON
418 | Lao People's Democratic Republic | LA | RSD
428 | Latvia | LV | RUB
422 | Lebanon | LB | RWF
426 | Lesotho | LS | SAR
430 | Liberia | LR | SBD
434 | Libya | LY | SCR
438 | Liechtenstein | LI | SDG
440 | Lithuania | LT | SEK
442 | Luxembourg | LU | SGD
446 | Macao | MO | SHP
807 | Macedonia, the former Yugoslav Republic of | MK | SLL
450 | Madagascar | MG | SOS
454 | Malawi | MW | SRD
458 | Malaysia | MY | SSP
462 | Maldives | MV | STD
466 | Mali | ML | SYP
470 | Malta | MT | SZL
584 | Marshall Islands | MH | THB
474 | Martinique | MQ | TJS
478 | Mauritania | MR | TMT
480 | Mauritius | MU | TND
175 | Mayotte | YT | TOP
484 | Mexico | MX | TRY
583 | Micronesia, Federated States of | FM | TTD
498 | Moldova, Republic of | MD | TWD
492 | Monaco | MC | TZS
496 | Mongolia | MN | UAH
499 | Montenegro | ME | UGX
500 | Montserrat | MS | USD
504 | Morocco | MA | USN
508 | Mozambique | MZ | USS
104 | Myanmar | MM | UYI
516 | Namibia | NA | UYU
520 | Nauru | NR | UZS
524 | Nepal | NP | VEF
528 | Netherlands | NL | VND
540 | New Caledonia | NC | VUV
554 | New Zealand | NZ | WST
558 | Nicaragua | NI | XAF
562 | Niger | NE | XAG
566 | Nigeria | NG | XAU
570 | Niue | NU | XBA
574 | Norfolk Island | NF | XBB
580 | Northern Mariana Islands | MP | XBC
578 | Norway | NO | XBD
512 | Oman | OM | XCD
586 | Pakistan | PK | XDR
585 | Palau | PW | XFU
275 | Palestine, State of | PS | XOF
591 | Panama | PA | XPD
598 | Papua New Guinea | PG | XPF
600 | Paraguay | PY | XPT
604 | Peru | PE | XTS
608 | Philippines | PH | XXX
612 | Pitcairn | PN | YER
616 | Poland | PL | ZAR
620 | Portugal | PT | ZMK
630 | Puerto Rico | PR | ZWL
634 | Qatar | QA
638 | Réunion | RE
642 | Romania | RO
643 | Russian Federation | RU
646 | Rwanda | RW
652 | Saint Barthélemy | BL
654 | Saint Helena, Ascension and Tristan da Cunha | SH
659 | Saint Kitts and Nevis | KN
662 | Saint Lucia | LC
663 | Saint Martin (French part) | MF
666 | Saint Pierre and Miquelon | PM
670 | Saint Vincent and the Grenadines | VC
882 | Samoa | WS
674 | San Marino | SM
678 | Sao Tome and Principe | ST
682 | Saudi Arabia | SA
686 | Senegal | SN
688 | Serbia | RS
690 | Seychelles | SC
694 | Sierra Leone | SL
702 | Singapore | SG
534 | Sint Maarten (Dutch part) | SX
703 | Slovakia | SK
705 | Slovenia | SI
90 | Solomon Islands | SB
706 | Somalia | SO
710 | South Africa | ZA
239 | South Georgia and the South Sandwich Islands | GS
728 | South Sudan | SS
724 | Spain | ES
144 | Sri Lanka | LK
729 | Sudan | SD
740 | Suriname | SR
744 | Svalbard and Jan Mayen | SJ
748 | Swaziland | SZ
752 | Sweden | SE
756 | Switzerland | CH
760 | Syrian Arab Republic | SY
158 | Taiwan, Province of China | TW
762 | Tajikistan | TJ
834 | Tanzania, United Republic of | TZ
764 | Thailand | TH
626 | Timor-Leste | TL
768 | Togo | TG
772 | Tokelau | TK
776 | Tonga | TO
780 | Trinidad and Tobago | TT
788 | Tunisia | TN
792 | Turkey | TR
795 | Turkmenistan | TM
796 | Turks and Caicos Islands | TC
798 | Tuvalu | TV
800 | Uganda | UG
804 | Ukraine | UA
784 | United Arab Emirates | AE
826 | United Kingdom | GB
840 | United States | US
581 | United States Minor Outlying Islands | UM
858 | Uruguay | UY
860 | Uzbekistan | UZ
548 | Vanuatu | VU
862 | Venezuela, Bolivarian Republic of | VE
704 | Viet Nam | VN
92 | Virgin Islands, British | VG
850 | Virgin Islands, U.S. | VI
876 | Wallis and Futuna | WF
732 | Western Sahara | EH
887 | Yemen | YE
894 | Zambia | ZM
716 | Zimbabwe | ZW

## Units
SI Units
Symbol | Name | Description
| Minute angle | 1' = (1/60)° = (pi/10 800) rad
' | Second angle | 1'' = (1/60)' = (pi/648 000) rad
%
% m/m
% v/v
° | Degree angle | 1° = ( pi/180) rad
°C | Degree Celsius | Temperature Relative to 273
A | Ampere | Electric Current
A/m | Ampere per Metre | Magnetic Field Strength
A/m2 | Ampere per Square Metre | Current Density
au | Astronomical unit
Bq | Becquerel | Radioactivity (Decays per Unit Time)
C | Coulomb | Electric Charge or Quantity of Electricity
cd | Candela | Luminous Intensity
cd/m2 | Candela per Square Metre | Luminance
CFU/100mL
CFU/g
CFU/h
CFU/mL
CFU/swab
d | day
EBC
eV | Electronvolt
F | Farad | Capacitance
FNU
g | Gram
g/100g
g/cm3
g/dL
Gy | Gray | Absorbed Dose (of Ionising Radiation)
H | Henry | Inductance
h | hour
ha | hectare | 1 ha = 10 000 m2
Hz | Hertz | Frequency
IBU
IU/g
IU/kg
J | Joule | Energy, Work, Heat
J/g
K | Kelvin | Temperature
kat | Katal | Catalytic Activity
KCal/100g
kg | Kilogram | Mass
kg/m2 | Kilogram per Square Metre | Surface Density
kg/m3 | Kilogram per Cubic Metre | Density
kJ | Kilojoule
km | Kilometre
km/h | Kilometre per hour | 1 km/h = 0.278 m/s
kPa
kW | Kilowatt | 1 kW = 1000 W
kW⋅h | Kilowatt-hour | 1 kW⋅h = 3.6 MJ
L | Litre
lm | Lumen | Luminous Flux
lx | Lux | Illuminance
m | Metre | Length
mA | Milli Ampere | Current
m/s | Metre per Second | Speed, Velocity
m/s2 | Metre per Second Squared | Acceleration
m2 | Square Metre | Area
m3 | Cubic Metre | Volume
m3/kg | Cubic Metre per Kilogram | Specific Volume
meq/kg
mg | Milligram
mg/100g
mg/g
mg/kg
mg/L | Miligram per Liter | Concentration
mg/m3
mgKOH/g
microS/cm | Microsiemens per centimeter
min | minute
MJ | Megajoule | 1 MJ = 1000 kJ
mL | Millilitre
mol | Mole | Amount of Substance
mol/m3 | Mole per Cubic Metre | Concentration
MPN/100mL
MPN/g
MPN/L
MPN/swab
mS/m
N | Newton | Force, Weight
ng/L
ng/mL
NTU
Pa | Pascal | Pressure, Stress
ppb | Parts per Billion | Concentration
ppm | Parts per Million | Concentration
Pt-Co
rad | Radiannote 1 | Plane Angle
RLU
S | Siemens | Electrical Conductance
s | Second | Time
Sv | Sievert | Equivalent Dose (Of Ionising Radiation)
t | Metric ton | 1 t = 1000 kg
T | Tesla | Magnetic Flux Density
u | Unified atomic mass unit | 1 u = 1.660 54 x 10-27 kg, approximately
ug/Kg
ug/L
V | Volt | Voltage (Electrical Potential), Emf
W | Watt | Power, Radiant Flux
Wb | Weber | Magnetic Flux
µg/L
µg/m3
Ω | Ohm | Resistance, Impedance, Reactance